Johnson Controls Fire Protection                     1350 Northmeadow Pkwy                                    Suite 100                                                     Roswell, GA 30076

Tel (678) 896-4090 Fax (770) 452-7189

Curt Shavers Project Manager

February 18, 2022

Macallan Construction

1642 POWERS FERRY ROAD SE 
MARIETTA , GA 30067-0000

# RE: GSU MRRF ADA RR

# Contract: SC-21017-006

Dear Sir or Madam

This is to advise that the Fire Alarm System/Equipment installed by Johnson Controls Fire Protection (formerly known as SimplexGrinnell) for the above referenced project, has been Tested and found to be Operational per Plans and Specifications and in accordance to NFPA 72 standards for the Field installed devices.

We at Johnson Controls Fire Protection (formerly known as SimplexGrinnell) thank you for the opportunity of being the supplier of your Life Safety Equipment. We take great pride in our company and believe that we have the best Life Safety Equipment available in the marketplace today.

On behalf of Johnson Controls Fire Protection, I want to express my gratitude and hope that you will consider us for your Fire and Safety needs in any future projects.

Sincerely,

David Cates

David Cates

# Technical Representative

cc: Project Folder (621479101)